Declaration of Performance

(WJ Fire Retardant Ltd DoP Eucalyptus Plywood BF 2)

- Product Type: Eucalyptus plywood with face veneer treated with fire retardant Burnblock. EN14915:2013 + A1:2017 - Intended Use: Fire treated eucalyptus plywood with beech face veneer for panelling and cladding applications in construction. Suitable for use with horizontal and vertical joints, and with ventilated or non-ventilated air gaps or no air gap between the product and substrate. End use substrate to be Euroclass A1 or A2 - s1, d0. - Manufacturer: <<WJ Fire Retardant Ltd, 1A Main Street, Kirkburn, Driffield, East Yorkshire, YO25 9DU. E-mail: info@firewright.co.uk>>. - System of Assessment and verification of constancy of performance: AVCP-system 1 - Construction product covered by a harmonized standard: Finotrol Oy, Notified certification body no: 2412 has performed initial inspection of the manufacturing plant and production control and performs continuous surveillance, assessment and evaluation of factory production control under system 1 and issued the certificate of conformity of factory production control: 2412-CPR-1019-01. - Declared Performance:

| Essential charecteristics | Performance | Harmonised technical specification |
| --- | --- | --- |
| Wood species | Eucalyptus Plywood with Beech Face (Eucalyptus globulus) | EN 14915:2013 + A1:2017 |
| Density, thickness | 744 kg/m³ (undried), 5.5 mm |  |
| Reaction to fire | B-s1,d0 ≤ 5,5mm B-s2,d0 > 6mm |  |
| Release of dangerous substances | NDP |  |
| Treated to fire classification Natural Durability class Uptake Name of treatment chemical | EN 13501-1:2007+A1:2009 1 40 kg/m3 Burnblock |  |

Signed for and behalf of the manufacturer by:

Name and function:	        Mark Eggleston, Managing Director

Place and date of issue: 	        WJ Fire Retardant, Kirkburn     24/1/2024