Declaration of Performance

(WJ Fire Retardant Ltd DoP Western Red Cedar)

- Product Type: Western Red Cedar solid wood panel. End use as solid wood paneling and cladding EN14915:2013 + A1:2017 - Intended Use: Fire treated solid wood panelling and cladding for applications in construction. Horizontal and vertical joints. Ventilated or on-ventilated air gap between product and substrate or no air gap. End use Substrate of Euroclass A1 or A2 – s1, d0 ≥ 12 mm, density ≥ 525 kg/m3 - Manufacturer: WJ Fire Retardant Ltd, 1A Main Street, Kirkburn, Driffield, East Yorkshire, YO25 9DU. E-mail: info@firewright.co.uk. - System of Assessment and verification of constancy of performance: AVCP-system 1. - Construction product covered by a harmonized standard: Finotrol Oy, Notified certification body no: 2412 has performed initial inspection of the manufacturing plant and production control and performs continuous surveillance, assessment and evaluation of factory production control under system 1 and issued the certificate of conformity of factory production control: 2412-CPR-1019-01. - Declared Performance:

| Essential charecteristics | Performance | Harmonised technical specification |
| --- | --- | --- |
| Wood species | Western Red Cedar (Thuja Plicata) | EN 14915:2013 + A1:2017 |
| Density, thickness | 320-490 kg/m3, 15-42 mm |  |
| Reaction to fire | B-s1,d0 ≤ 15-42mm B-s2,d0 > 42mm |  |
| Release of dangerous substances | NDP |  |
| Treated to fire classification Natural Durability class Uptake Name of treatment chemical | EN 13501-1:2007+A1:2009 1 38 kg/m³ Burnblock |  |

Signed for and behalf of the manufacturer by:

Name and function:	Mark Eggleston, Managing Director

Place and date of issue: 	WJ Fire Retardant, Kirkburn

24/1/2024